## GECALU
CAMMESA – GERENCIA ESTUDIOS ELÉCTRICOS BIBLIOTECA DE MODELOS PSS/E
GECALU: Excitation System Model Data Sheets | [5 empty] | Generador: |  |  | Fecha: | Julio 2011
Modelo escrito por el Usuario
This model is located at system bus |  |  |  |  | IBUS
Machine identifier |  |  |  |  | ID
This model uses CONs starting with |  |  |  |  | J
and STATEs starting with |  |  |  |  | K
and VARs starting with |  |  |  |  | L
and ICONs starting with |  |  |  |  | M
CONs | # |  | Value | Description |  |  | STATEs | # | Description
J |  |  |  | TR (sec) |  |  | K |  | Salida Traductor de
J+1 |  |  |  | TB (sec) (=0 bypass Wash Out) |  |  |  |  | Tensión
J+2 |  |  |  | TC (sec) |  |  | K+1 |  | Lead-Lag
J+3 |  |  |  | KA |  |  | K+2 |  | Realimentación del
J+4 |  |  |  | TA > 0 (sec) |  |  |  |  | Regulador
J+5 |  |  |  | VRMAX |  |  | K+3 |  | Salida Excitador
J+6 |  |  |  | VRMIN |  |  | K+4 |  | Limitador Realimentador
J+7 |  |  |  | TE > 0 (sec) |  |  | K+5 |  | Salida integrador de Q
J+8 |  |  |  | KF |  |  | K+6 |  | Salida Traductor de Q
J+9 |  |  |  | TF > 0 (sec)
J+10 |  |  |  | IFlim |  |  | VARs | # | Description
J+11 |  |  |  | KE |  |  | L |  | Referencia de Q
J+12 |  |  |  | E1 |  |  | L+1 |  | OUT comparador DQ
J+13 |  |  |  | SE(E1) |  |  | L+2 |  | Entrada Selector desde
J+14 |  |  |  | E2 |  |  |  |  | Regulador
J+15 |  |  |  | SE(E2) |  |  | L+3 |  | Entrada Selector desde
J+16 |  |  |  | VLIM > 0 |  |  |  |  | Limitador
J+17 |  |  |  | KQ (p.u.Tensión/seg) |  |  | L+4 |  | Salida del Selector
J+18 |  |  |  | TQ (seg) |  |  | L+5 |  | Timer Comparador DQ
J+19 |  |  |  | DQL (p.u. MBASE) |  |  | L+6 |  | VREF Inicial
J+20 |  |  |  | DQR (p.u. MBASE)
J+21 |  |  |  | Fast |  |  | IBUS, ‘USRMDL’,IM,’GECALU’, 4, 0, 2, 22, 7, 7,
ICON(M), ICON(M+1), CON(J) to CON(J+21) /
ICONs | # |  | Value | Description
M |  |  |  | 0 = DQ £ DQL
1 = DQL £ DQ < DQR 1er tramo de F(t)
2 = DQL £ DQ < DQR 2do tramo de F(t)
3 = DQL £ DQ < DQR 3er tramo de F(t)
4 = DQ ³ DQR
M+1 |  |  |  | Control de Q (1=Si, 0=No)
Diagrama de Bloques
GECALU
ECOMP
VOTHSG
VUEL
VOEL
EFD
QELEC